## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cragside Court
Off Cragside Gardens
Gateshead
NE11 0AW
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 24-47073
DATE OF REPORT: 03/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47073
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Cragside Court
Off Cragside Gardens
Gateshead
NE11 0AW
Carried Out On | 15/05/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Checks in Plant Room & clean Filters if possible.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47073
SECTION 3: Report
Craigside court 2x vaillant eco tec plus boilers both operational 2x lovhinvar eco charger 1= fault ignition lockout reset still faulting 2= operational Both max burner hours service required 2x jet pressuration unit operational Primary heating pumps wilo stratos d50/1 1= operational amps 1.2 2= operational amps 1.0 1x dhw secondary return pump wilo stratos z30/1 operational amps 0.24 2x potable expansion vessels set at 3.5 bar 3x ch expansion vessels set at 1.5 5 x prv operational 1x interlock operational Lagging ok Pipework ok Valves operational Sensors and gauges operational Water test complete Filter cleaning pot emptied. Recommendations gas engineer to attend and service/ repair water heaters.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes