## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Aged Miners Homes
Sunderland
Tyne and Wear
SR1 4DE
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-47093
DATE OF REPORT: 12/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47093
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 Aged Miners Homes
Sunderland
Tyne and Wear
SR1 4DE
Carried Out On | 12/05/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Leak within property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47093
SECTION 3: Report
When arriving on site water dripping from ceiling. Not a great amount. After checking loft space water tank had slight leek on weld. As water wasn’t a big ammount I have left in operation so tenant has hot water. Called Jimmy to disconnect Co alarm as water was passing though it. Tank to be replaced, data badge sent to office.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47093
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47093
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47093
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47093
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47093
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes