## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Emmerson Court ( Flat 44 )
Emmerson Place
Shiremoor
NE27 0NG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-47126
DATE OF REPORT: 23/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47126
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Emmerson Court ( Flat 44 )
Emmerson Place
Shiremoor
NE27 0NG
Carried Out On | 13/05/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
No heating in flat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47126
SECTION 3: Report
Ct 13/5 Checked vt valves in plant room as says been off all weekend plant room done 60 degrees flow 57 return. Pumps running. Checked thermostat and zone have both working correctly as requested. Checked tenants trvs all on low numbers so tried to explain how trv work was a bit of a struggle think he now understands.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes