## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Leech Court
Easington Colliery
Peterlee
SR8 3QJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-47266
DATE OF REPORT: 15/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47266
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 13 Leech Court
Easington Colliery
Peterlee
SR8 3QJ
Carried Out On | 15/05/2024
Survey Completed By | Adam Watts
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47266
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A yes alpha intec Existing Cylinder & Tanks - Y or N/A yes solar smart Existing Flue Run - Y Existing Controls- upgrading Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Current internal Existing PRV Termination - Y New PRV Termination - N Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – No issues Scaffolding location - roofer required Vertical flue Information Required (Must Complete all fields) Property Type Bungalow 2 bedrooms Existing Loft insulation thickness in mm (Example “200mm”) - 200mm Smoke Alarm Locations - Hall kitchen livingroom Co Alarm Location - hall Distribution Pannel Location - front door Existing heating control location -hall Existing supply (Natural Gas / LPG / Oil) - gas Solar Thermal (Yes / No) yes Existing Boiler Make & Model - alpha intec Existing Boiler serial number -adc14400075 Existing Boiler Location -hall Existing Boiler Type (Combi / Heat Only / System boiler) - system Install Type (Full Heating / Conversion / Boiler Replacement) - conversion New Boiler Location - Existing location Stand off kit required - N New Flue (Horizontal / Vertical) - vertical Flue Materials Required - 3 extension 2 x 45s 4 x brackets Vertical flue terminal, roof slate Scaffolding required - N Gas Meter location (Internal / External) -external Stop tap location - Hall way cupboard Stop tap working (Yes / No) - y Existing condensate termination location - internal New Condensate termination location - Condensate materials required - Condensate Pump (Yes / No) - N Pressure relief termination location - external Number of Bathrooms -1 Number of thermostatic Showers - 1 Number of electric Showers - 0 Total number of existing radiators -7 Current Cooker (Gas / Electric) - void 0 Current Fire (Gas / Electric) – none Any Other notes No electric on at Property or gas Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - Existing Pipework type (Copper / Speed fit / Hep) - Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) - Existing TRVS installed (Yes / No) - y Existing double lock shield radiator (Yes / No) - y Talon Trunking requirements –n Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes