## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
39 The Oval
Ouston
DH2 1RN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-47417
DATE OF REPORT: 16/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47417
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 39 The Oval
Ouston
DH2 1RN
Carried Out On | 16/05/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47417
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler (Y or N/A) -Y Existing Cylinder & Tanks (Y or N/A) -NA Existing Flue Run (Y or N/A) -Y Existing Controls (Y or N/A) -Y Stop Tap (Y or N/A) - Gas Meter (Y or N/A) -Y Distribution Board (Y or N/A) -Y Existing Condensate (Y or N/A) -Y New Condensate Termination (Y or N/A) -Y Existing PRV Termination (Y or N/A) -Y New PRV Termination (Y or N/A) -Y Smoke Alarms (Y or N/A) -Y Co2 Alarms (Y or N/A) -Y Existing poor condition radiators (Y or N/A) -NA Scaffolding location (Y or N/A) -N Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –HOUSE Existing Loft insulation thickness in mm (Example “200mm”) - Smoke Alarm Locations -landing living room Co Alarm Location -boiler cupboard Distribution Pannel Location - Existing heating control location - Existing supply (Natural Gas / LPG / Oil) -natural gas Solar Thermal (Yes / No) -no Existing Boiler Make & Model -baxi Duo Tec 28 Existing Boiler serial number -image Existing Boiler Location -bedroom cupboard Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -boiler swap New Boiler Location -same place Stand off kit required -no New Flue (Horizontal / Vertical) -horizontal Flue Materials Required -flue kit Scaffolding required -no Gas Meter location (Internal / External) -ext rail Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -external New condensate termination location -same Condensate materials required -2 inch 1/4 lengths 3 elbows 1 connector Soak away Condensate Pump (Yes / No) -no Existing pressure relief termination location -external New pressure relief termination location -same place Number of Bathrooms -1 Number of thermostatic showers -1 Number of electric Showers -0 Total number of existing radiators –6 Does all existing radiators work -Y Does all hot water outlets work -Y Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) -NA Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - Existing Pipework type (Copper / Speed fit / Hep) - Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) - Existing TRVS installed (Yes / No) - Existing double lock shield radiator (Yes / No) - Talon Trunking requirements - Only complete radiators for the following reasons 1. Existing heating system in 8mm pipework 2. Existing system in plastic NONE BARRIIER PROTECTED 3. Full Heating Replacement 4. Damaged or Rusted Radiator Radiators Existing Lounge Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes