## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Weakland Crescent
Sheffield
S12 4PA
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-47486
DATE OF REPORT: 24/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47486
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 23 Weakland Crescent
Sheffield
S12 4PA
Carried Out On | 24/05/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47486
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A Existing Cylinder & Tanks - Y or N/A Existing Flue Run - Y or N/A Existing Controls- Y or N/A Stop Tap - Y or N/A Gas Meter- Y or N/A Distribution Board - Y or N/A Existing Condensate - Y or N/A New Condensate Termination- Y or N/A Existing PRV Termination - Y or N/A New PRV Termination - Y or N/A Smoke Alarms - Y or N/A Co2 Alarms - Y or N/A Existing poor condition radiators – Y or N/A Scaffolding location - Y or N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – Existing Loft insulation thickness in mm (Example “200mm”) - Smoke Alarm Locations -landing of each flight of stairs kictchen Co Alarm Location -boiler cupboard Distribution Pannel Location -downstairs bottom floor Existing heating control location -hallway Existing supply (Natural Gas / LPG / Oil) -natural gas Solar Thermal (Yes / No)yes Existing Boiler Make & Model -alpha inter 28x Existing Boiler serial number -unable to see Existing Boiler Location -bed room cupboard on top floor Existing Boiler Type (Combi / Heat Only / System boiler) -combine Install Type (Full Heating / Conversion / Boiler Replacement) -boiler swap New Boiler Location -same place Stand off kit required -no New Flue (Horizontal / Vertical) -vertical Flue Materials Required -5 extensions 3 elbows 2 45s Scaffolding required -yes as is three floors Gas Meter location (Internal / External) -downstairs Stop tap location -kitchen sink Stop tap working (Yes / No) -yes Existing condensate termination location -kitchen sink New Condensate termination location -connect to existing Condensate materials required -na Condensate Pump (Yes / No) -n Pressure relief termination location - Number of Bathrooms -3 Number of thermostatic Showers -0 Number of electric Showers -2 Total number of existing radiators -10 Current Cooker (Gas / Electric) -gas Current Fire (Gas / Electric) – Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - Existing Pipework type (Copper / Speed fit / Hep) - Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) - Existing TRVS installed (Yes / No) - Existing double lock shield radiator (Yes / No) - Talon Trunking requirements – Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47486
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47486
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47486
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47486
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47486
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes