## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-47553
DATE OF REPORT: 23/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47553
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 26 Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 21/05/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
The underfloor heating in the flat is very hot and will not turn off - the thermostats are off and heat Is still coming up - the tenant is on oxygen and its far too hot for him

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47553
SECTION 3: Report
Ct 21/5 Actuator head has been fitted and red button at back hasn’t been clicked in so actuator is in fully on mode 24/7. Clocked in and waited on pipework to start cooling down as kitchen was on no others on. Temp dropped from 52 degrees to 46 pictures sent to n.h

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes