## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Windsor Grange ( Flat 30 )
Windsor Drive
Wallsend
NE28 0NP
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-47578
DATE OF REPORT: 23/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47578
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Windsor Grange ( Flat 30 )
Windsor Drive
Wallsend
NE28 0NP
Carried Out On | 22/05/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
no underfloor heating in flat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47578
SECTION 3: Report
Ct 22/5 Isolation switch turned off turned on and tested an everything working. Living room thermostat flashing not staying on solid. Isolated and replaced wire by wire due to been connected with all black cables with no markings. Checked everything working Materials 1x Drayton rts2

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47578
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes