## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Denelands
Hexham
Northumberland
NE46 1HL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-47629
DATE OF REPORT: 22/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47629
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 Denelands
Hexham
Northumberland
NE46 1HL
Carried Out On | 22/05/2024
Survey Completed By | Richard Taylor
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47629
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - N/A Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- N/A Existing PRV Termination - Y New PRV Termination - N/A Smoke Alarms - N/A Co2 Alarms - N/A Existing poor condition radiators – Y or N/A Scaffolding location - Y or N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – bungalow Existing Loft insulation thickness in mm (Example “200mm”) - Smoke Alarm Locations - front and rear hallway & lounge Co Alarm Location - boiler xupbaord Distribution Pannel Location - kitchen Existing heating control location - on Boiler Existing supply (Natural Gas / LPG / Oil) - gas Solar Thermal (Yes / No) no Existing Boiler Make & Model - vaillant eco tec plus 824 Existing Boiler serial number - Existing Boiler Location - rear hall cupbaord Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - boiler replacement New Boiler Location - rear hall cupbaord Stand off kit required - no New Flue (Horizontal / Vertical) - horizontal Flue Materials Required - standard kit Scaffolding required - no Gas Meter location (/ External) - Stop tap location - sure stop. Kitchen sink Stop tap working (Yes Existing condensate termination location - to external drain New Condensate termination location -as above Condensate materials required -yes Condensate Pump (Yes / No) - no Pressure relief termination location - to external wall Number of Bathrooms - 1 Number of thermostatic Showers - non Number of electric Showers - 1 Total number of existing radiators - 6 Current Cooker (Gas / Electric) - electric Current Fire (Gas / Electric) – none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm Existing TRVS installed (Yes / No) - yes. Rear hallway trv damaged. Please replace Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – non Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes