## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Community Building
West Way
South Shields
NE33 4SR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-47666
DATE OF REPORT: 24/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47666
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Community Building
West Way
South Shields
NE33 4SR
Carried Out On | 22/05/2024, 24/05/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Boiler continuing to loose pressure currently no heating and hot water ---- ---- To access - Key safe to the right hand side of the main door code - 1067 --- ---- Access to the boiler cupboard LHS of kitchen key safe fixed to wall 3689.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47666
SECTION 3: Report
Attended community centre. Heatrea sadia electromax Hot water was on and working correctly. Pressure gauge was at approx 1.7bar no signs of any leaking from rads/pipework Heating switch was illuminated on Cylinder but no heating. Manual timer in Cylinder cupbaord was set to timed and pump was not running. I turned manual timer to run and pump kicked in. Digital timer in main hall was calling for demand but the Cylinder was kicking in. I reset the the cylinder and heating dials illuminated and heating started to work. I waited 15 mins to see if rads started heating up which they did. Bottom immersion heater working Top immersion heater does not seem to be working. I suspect it may be a problem with the wireless thermostat in main hall possibly causing issues with heating not firing. Heating and hot water working before I left. I turned manual timer on cupboard back onto timed. No-one was using community hall tonight. Photos sent to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes