## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Gairloch Drive
Perkinsville
Chester-le-Street
DH2 1JA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-47706
DATE OF REPORT: 28/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47706
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Gairloch Drive
Perkinsville
Chester-le-Street
DH2 1JA
Carried Out On | 28/05/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47706
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler (Y or N/A) - yes Existing Cylinder & Tanks (Y or N/A) - yes Existing Flue Run (Y or N/A) - yes Existing Controls (Y or N/A) - yes Stop Tap (Y or N/A) - yes Gas Meter (Y or N/A) - yes Distribution Board (Y or N/A) - yes Existing Condensate (Y or N/A) - yes New Condensate Termination (Y or N/A) - yes Existing PRV Termination (Y or N/A) - external drain New PRV Termination (Y or N/A) - same Smoke Alarms (Y or N/A) - yes Co Alarms (Y or N/A) - yes Existing poor condition radiators (Y or N/A) - n/a Scaffolding location (Y or N/A) - n/a Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – bungalow Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - kitchen, hall, lounge, passage Co Alarm Location - kitchrn Distribution Pannel Location - hall Existing heating control location - passage Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) - no Existing Boiler Make & Model - Baxi Duotec 28 HE Existing Boiler serial number - CAC092510083FC Existing Boiler Location - kitchen cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - combi swap New Boiler Location - same Stand off kit required -no New Flue (Horizontal / Vertical) - vertical Flue Materials Required - vertical kit, 2 of 45° elbows, 3 of 1m extensions. Scaffolding required - no Gas Meter location (Internal / External) - external front Stop tap location - under sink Stop tap working (Yes / No) - yes Existing condensate termination location - external drain New condensate termination location - same Condensate materials required -6m of overflow pipe, 4m of lagging, 1 of overflow/38mm adaptor Condensate Pump (Yes / No) - yes Existing pressure relief termination location - external. New pressure relief termination location - same Number of Bathrooms - 1 Number of thermostatic showers - 0 Number of electric Showers - 1 Total number of existing radiators – 7 Does all existing radiators work - yes Does all hot water outlets work - yes Current Cooker (Gas / Electric) - gas Current Fire (Gas / Electric) - electric Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements - Only complete radiators for the following reasons 1. Existing heating system in 8mm pipework 2. Existing system in plastic NONE BARRIIER PROTECTED 3. Full Heating Replacement 4. Damaged or Rusted Radiator Any Other notes 15mm pressure relief valve. 9m of 15mm pipe.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47706
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47706
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47706
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47706
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47706
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes