## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Gairloch Drive
Perkinsville
Chester-le-Street
DH2 1JA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-47707
DATE OF REPORT: 28/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47707
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Gairloch Drive
Perkinsville
Chester-le-Street
DH2 1JA
Carried Out On | 28/05/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47707
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler (Y or N/A) - yes Existing Cylinder & Tanks (Y or N/A) - n/a Existing Flue Run (Y or N/A) - yes Existing Controls (Y or N/A) - yes Stop Tap (Y or N/A) - yes Gas Meter (Y or N/A) - yes Distribution Board (Y or N/A) - yes Existing Condensate (Y or N/A) - yes New Condensate Termination (Y or N/A) - yes Existing PRV Termination (Y or N/A) - yes New PRV Termination (Y or N/A) - yes Smoke Alarms (Y or N/A) - yes Co Alarms (Y or N/A) - yes Existing poor condition radiators (Y or N/A) - n/a Scaffolding location (Y or N/A) - n/a Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – house Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - landing, hall, lounge, kitchen, passage Co Alarm Location - landing Distribution Pannel Location - under stairs Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) - no Existing Boiler Make & Model - Baxi Duotec 28 HE Existing Boiler serial number - CAC092510082FC Existing Boiler Location - landing cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - combi swap New Boiler Location - same Stand off kit required - no New Flue (Horizontal / Vertical) - vertical Flue Materials Required - vertical kit, 2 of 45° bends, 3 of 1m extensions Scaffolding required - no Gas Meter location (Internal / External) - external front Stop tap location - downstairs toilet Stop tap working (Yes / No) - yes Existing condensate termination location - internal stack. New condensate termination location - same Condensate materials required - none Condensate Pump (Yes / No) - yes Existing pressure relief termination location - external rear New pressure relief termination location - same Number of Bathrooms - 1 Number of thermostatic showers - 0 Number of electric Showers - 1 Total number of existing radiators – 7 Does all existing radiators work - yes Does all hot water outlets work - yes Current Cooker (Gas / Electric) - gas Current Fire (Gas / Electric) - electric Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements - none Only complete radiators for the following reasons 1. Existing heating system in 8mm pipework 2. Existing system in plastic NONE BARRIIER PROTECTED 3. Full Heating Replacement 4. Damaged or Rusted Radiator Radiators Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes