## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Gairloch Drive
Perkinsville
Chester-le-Street
DH2 1JA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-47721
DATE OF REPORT: 16/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47721
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 42 Gairloch Drive
Perkinsville
Chester-le-Street
DH2 1JA
Carried Out On | 06/06/2024, 09/07/2024, , 16/07/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for full heating replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47721
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - N/A Smoke Alarms - Y Co Alarms - Y Existing poor condition radiators – Y Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – house Existing Loft insulation thickness in mm (Example “200mm”) - 300mm Smoke Alarm Locations - kitchen, landing, lounge Co Alarm Location - bathroom cupboard Distribution Panel Location - garage Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) -NG Solar Thermal (Yes / No) - No Existing Boiler Make & Model -Baxi Duotec 28 HE Existing Boiler serial number -CAC092130156FC Existing Boiler Location - bathroom cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - full heating New Boiler Location - same Stand off kit required - no New Flue (Horizontal / Vertical) - horizontal Flue Materials Required - standard Scaffolding required -no Gas Meter location (Internal / External) - internal garage Stop tap location - kitchen Stop tap working (Yes / No) - yes Existing condensate termination location -internal into bath waste New Condensate termination location - same Condensate materials required - none Condensate Pump (Yes / No) - no Pressure relief termination location - external rear Number of Bathrooms - 1 Number of thermostatic Showers - 1 Number of electric Showers - 0 Total number of existing radiators - 5 Current Cooker (Gas / Electric) - none Current Fire (Gas / Electric) - none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm & 15mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - no Talon Trunking requirements – 16m of 22mm, 4 flat corners, 4 end caps Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Wall E Size - 300x1500DC Stelrad Existing Lounge Rad Wall D Size - none fitted Room Length x Width x Height (In meters) - 65.6m3 Windows - 11.4m2 Max New size if applicable wall E - 27x63 Max New size if applicable wall D - 27x61 Existing Kitchen Rad Wall A Size -none fitted Room Length x Width x Height (In meters) - 22m3 Windows - 4.5m2 Max New size if applicable - 27x53 Existing Hall Rad Wall B Size - 500x500SC Stelrad Room Length x Width x Height (In meters) - 9.1m3 (no landing rad, landing is 10.2m3) Windows - 3.7m2 (incl landing window) Max New size if applicable - 27x21 Existing Bathroom Rad Wall B Size -none fitted Room Length x Width x Height (In meters) - 13.9m3 Window - 2.4m2 Max New size if applicable - 27x39 Existing Bed 1 Rad Wall C Size - 500x1600SC Stelrad Room Length x Width x Height (In meters) - 30.5m3 Window - 4.1m2 Max New size if applicable - 21x124 Existing Bed 2 Rad Wall A Size -500x1400SC Stelrad Room Length x Width x Height (In meters) - 28.6m3 Window - 4.1m2 Max New size if applicable - 21x105 Existing Bed 3 Rad Wall A Size - 500x1000 Stelrad Room Length x Width x Height (In meters) - 14.7m3 Window - 2.19m2 Max New size if applicable - 21x61 Any Other notes 12m of 22mm pipe 6 of 22mm elbows 2 of 22mm couplers 12 of 22x22x15 tees 2 of 22x15x15 tees 66m of 15mm pipe 38 of 15mm elbows 6 of 15mm couplers 2 of 15mm tees 7 of 15mm TRVs 9 of 15mm lockshield valve

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47721
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47721
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47721
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47721
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47721
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes