## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Parkside Close
Sheffield
S12 4PZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-47774
DATE OF REPORT: 16/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47774
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 1 Parkside Close
Sheffield
S12 4PZ
Carried Out On | 16/07/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned install for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47774
SECTION 3: Report
Upon completion of every install, the following pictures &amp; Documents must be submitted to our admin email address. The email title/subject must be the job number and address. admin@zenithmechanical.com. 1. Existing boiler incorporating whole installation (roughly 2-3 meters away). 2. New boiler incorporating whole installation (roughly 2-3 meters away). 3. New boiler picture must include, or a separate picture/s of all components installed including Heating filter, Scale reducer/lime fighter and shock arrestor/dhw expansion valve. 4. New Flue termination. (Horizontal flues must have inside and outside both before and after collar has been fitted to show its sealed). Four pictures in total for horizontal flues. 5. New condensate termination. 6. New Prv termination. 7. Pipework, one before insulation/lagging fitted and one with insulation/lagging fitted. 8. Manometer/U-Gauge of tightness test and operating pressure. 9. Gas rating (screen shot from app is accepted). 10. Analyser readings of High, Low and Air intake. 11. Sealed Flue Gas Analyser Test Points. 12. Flue routes within loft spaces these must show all extension bends and clips. 13. Completed CP12, Benchmark, Water Test and Handover Sheet. Boxing required - Y/N Co alarm installed - Y/N

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes