## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House ( Flat 4 )
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-47793
DATE OF REPORT: 05/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47793
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House ( Flat 4 )
Commercial Road
South Shields
NE33 1EA
Carried Out On | 23/05/2024, 24/05/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
no hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47793
SECTION 3: Report
Mhs unit leaking. Leaking from Wilo pump washer and 2 port valve. Tightened up nuts to pump and 2 port. Leak slowed down but unable to fully stop leak. New fibre washers required. Boiler also has no power to it. Tennant states karbon electrian has isolated boiler due to him getting a shock. Not sure where he has isolated it. I suspect he may have disconnected it from dB trip switch. Follow on visit required to fix leak. Follow on visit also required for electrical engineer to test and reinstate power to boiler unit. Leak from above Valves are very minimal and Tennant happy to contain with a towel. Tennant declined fan heater Ct 24/5 Started travel 13:45 didn’t register on time sheet. Pump leaking from plastic thread has crack oil temporarily fixed with 2x 28male ion and a bit of pipe. Connected and dried wires to pumps and put into wago connections tested no leaks. Left hot water actuator off and manually open so has hot water. Required Karbon electrion as has removed fuse spur. Fow fit new pump when comes in and fit actuators back after electrions have been Materials 2x 28mm male ion 6” 28mm pipe

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47793
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes