## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 West Mount Place
Halifax
HX1 5SD
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-47797
DATE OF REPORT: 12/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47797
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 12 West Mount Place
Halifax
HX1 5SD
Carried Out On | 12/06/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for radiator and distribution replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47797
SECTION 3: Report
Tenant refused work after measured up. Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 15mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – Radiators Existing Lounge Rad Size - 21x69sc Room Length x Width x Height (In meters) - 57m2 Window - 5.1m2 Max New size if applicable - 21x89 Existing Kitchen Rad Size - 21x41sc Room Length x Width x Height (In meters) - 17.3m3 Window - 0.9m2 Max New size if applicable - 27x78 Existing Hall Rad Size - 21x57sc Room Length x Width x Height (In meters) - 21.4m3 Window - 2m2 Max New size if applicable - 21x57 (stud wall, has board fitted for rad) Existing Landing 1 Room Rad Size - 21x25sc Room Length x Width x Height (In meters) - 13.5m3 Window - n/a Max New size if applicable - 27x25 Existing Bathroom Rad Size - 21x17sc Room Length x Width x Height (In meters) - 6.8m3 Window - n/a Max New size if applicable - 27x21 Existing Bed 1 Rad Size - 21x33sc Room Length x Width x Height (In meters) - 15.9m3 Window - 0.9m2 Max New size if applicable - 27x37 Existing Bed 2 Rad Size - 21x37sc Room Length x Width x Height (In meters) - 32m3 Window - 0.9m3 Max New size if applicable - 27x41 Existing Bed 3 Rad Size - 21x57sc Room Length x Width x Height (In meters) - 29.8m3 Max New size if applicable - 27x104 Existing Landing 2 Rad Size - 21x33sc Room Length x Width x Height (In meters) - 15.5m3 Window - 0.9m2 Max New size if applicable - 27x33 Existing Bed 4 Rad Size - 21x33sc Room Length x Width x Height (In meters) - 14.9m3 Window - 0.9m2 Max New size if applicable - 27x39 Any Other notes 30m of 15mm capping 3 flat corners 1 internal corner 2 joint covers 80m of 15mm pipe 42 of 15mm elbows 12 of 15mm tees 4 of 22x22x15mm tees 4 of 22x15x15mm tees 14m of 22mm pipe 6 of 22mm bends 8 of 15mm trvs 12 of 15mm lockshield valves

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes