## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Arundel Walk
Perkinsville
Chester-le-Street
DH2 1JD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-47979
DATE OF REPORT: 10/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47979
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Arundel Walk
Perkinsville
Chester-le-Street
DH2 1JD
Carried Out On | 10/06/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47979
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler (Y or N/A) - Y Existing Cylinder & Tanks (Y or N/A) - N/A Existing Flue Run (Y or N/A) - Y Existing Controls (Y or N/A) - Y Stop Tap (Y or N/A) - Y Gas Meter (Y or N/A) - Y Distribution Board (Y or N/A) - Y Existing Condensate (Y or N/A) - Y New Condensate Termination (Y or N/A) - Y Existing PRV Termination (Y or N/A) - Y New PRV Termination (Y or N/A) - Y Smoke Alarms (Y or N/A) - Y Co Alarms (Y or N/A) - Y Existing poor condition radiators (Y or N/A) - N/A Scaffolding location (Y or N/A) - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – bungalow Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - utility, kitchen, lounge, hall Co Alarm Location - kitchen Distribution Panel Location - utility Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) - no Existing Boiler Make & Model - Baxi Duotec 28 HE Existing Boiler serial number - CAC133350055JC Existing Boiler Location - kitchen Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - combi swap New Boiler Location - same Stand off kit required - no New Flue (Horizontal / Vertical) - vertical Flue Materials Required -vertical kit, 4 45° bends, 1 extension piece, 2 supports Scaffolding required - no Gas Meter location (Internal / External) - internal Stop tap location - bathroom Stop tap working (Yes / No) - yes Existing condensate termination location - waste from basin New condensate termination location - same Condensate materials required - 3m overflow pipe, 2 90° elbows, 3m of 22mm lagging. Condensate Pump (Yes / No) - yes Existing pressure relief termination location -under eaves (remote PRV in loft) New pressure relief termination location - same Number of Bathrooms - 1 Number of thermostatic showers - 0 Number of electric Showers - 1 Total number of existing radiators – 7 Does all existing radiators work - yes Does all hot water outlets work - yes Current Cooker (Gas / Electric) - electric Current Fire (Gas / Electric) - electric Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm & 8mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm & 8mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements - none Only complete radiators for the following reasons 1. Existing heating system in 8mm pipework 2. Existing system in plastic NONE BARRIIER PROTECTED 3. Full Heating Replacement 4. Damaged or Rusted Radiator Any Other notes Boxing around boiler to be removed/refitted.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47979
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes