## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
38 Highfield Place
Halifax
HX1 3PX
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-47982
DATE OF REPORT: 03/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-47982
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 38 Highfield Place
Halifax
HX1 3PX
Carried Out On | 03/06/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-47982
SECTION 3: Report
Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 15mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 15mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – 3m of 15mm capping Radiators Existing Lounge Rad Size - 600x1600dpx Stelrad Room Length x Width x Height (In meters) - 50m3 Window - 4.8m2 Max New size if applicable - 21x63 Existing Kitchen Rad Size - 600x1100dpx Stelrad Room Length x Width x Height (In meters) - 19.6m3 Window - 3m2 Max New size if applicable - 27x43 Existing Landing Rad Size - 600x1400sc Stelrad Room Length x Width x Height (In meters) - 14.1m2 Max New size if applicable - 27x63 Existing Bathroom Rad Size - 600x1100 Room Length x Width x Height (In meters) - 21.7m3 Window - 1.5m2 Max New size if applicable - 21x43 Existing Bed 1 Rad Size - 600x1400dpx Room Length x Width x Height (In meters) - 40.1m3 Window - 2.1m2 Max New size if applicable - 21x57 Existing Bed 2 Rad Size - 600x700dpx Stelrad Room Length x Width x Height (In meters) - 24.5m3 Window - 2.6m3 Max New size if applicable -27x49 Existing Bed 3 Rad Size - 600x700dpx Stelrad Room Length x Width x Height (In meters) - 33.4m3 Window - 2.7m2 Max New size if applicable - 27x59 Any Other notes 12m of 22mm pipe 8 22mm elbows 2 of 22x22x15mm tees 2 of 22x15x15mm tees 2 of 22mm couplers 70m of 15mm pipe 20 of 15mm elbows 6 of 15mm tees 6 of 15mm trv 8 of 15mm lockshield 24m of 15mm lagging

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-47982
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47982
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47982
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47982
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-47982
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes