## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Hendon Road
Deckham
Gateshead
NE8 3UD
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-48009
DATE OF REPORT: 04/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48009
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 3 Hendon Road
Deckham
Gateshead
NE8 3UD
Carried Out On | 31/05/2024, 04/06/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Must attend to reconnect gas cooker and move bayonet fitting to 750mm height.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48009
SECTION 3: Report
PN 4/6/34 Bayonet raised Cooker connected 1x backplate 1x bayonet

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48009
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes