## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House ( Flat 4 )
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-48011
DATE OF REPORT: 05/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48011
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House ( Flat 4 )
Commercial Road
South Shields
NE33 1EA
Carried Out On | 29/05/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Leaking boiler - On-going issue has been attended multiple times - Previous plumber attended and got boiler working but has now started leaking - Leak is affecting electrics - Request for plumber and electrician attendance sometime today if possible - Tenant will be unavailable between 11:30 and 12:30 - Please call when at the door as buzzer sometimes doesn't work

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48011
SECTION 3: Report
Ct 29/5 Dried all up no leaks inside boiler unit traced back and leak on top of unit and running down. Very small potential from disruption of last repair and haven’t noticed due to height and how small. And obviously previous leaks been repaired and staying dry. Still requires electrician to fit fuse spur as currently actuator body is manually open so Tennant has hot water. If Karbon don’t fit this back on vist it will require another cost to fit back on.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes