## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eccles Grange ( Flat 19 )
Backworth
Newcastle Upon Tyne
NE27 0FW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-48068
DATE OF REPORT: 10/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48068
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eccles Grange ( Flat 19 )
Backworth
Newcastle Upon Tyne
NE27 0FW
Carried Out On | 30/05/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
pipes knocking/banging in the flat - intermittent but happening at present 30/5/24 12noon

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48068
SECTION 3: Report
Ct 30/5 Changed a zone valve recently put in in the way the current one was in. As pipes were hot to test. Today tested pipework flow to see arrows on zone valve was incorrect. Swapped around and tested no banging now.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes