## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House ( Flat 4 )
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-48238
DATE OF REPORT: 05/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48238
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House ( Flat 4 )
Commercial Road
South Shields
NE33 1EA
Carried Out On | 04/06/2024, 07/06/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
boiler keeps switching its self on and temp keeps reaching 29 degrees even when this has been switched off and tenant cant stand to be in the property due to this.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48238
SECTION 3: Report
Ct 4/6 Hiu unit hot water actuator still disconnected after electrician has been. In previous report asked for them to fit back on when connecting unit back up. This hasn’t happened so unit has had 2 22mm pipes flowing 67 degrees water around plate heat exchanger as had been left in manual on Tennant choice due to needing hot water. Floor is at 28 degrees ano there is some small lagging to be done in plant room however this flat won’t cool down due to refusal to open windows and amount of electric items been run all the time. As temperatures are same as last few times maybe a little higher due to unit in manual as previous vists. Also visited whilst flat was empty with Peter form Karbon and proved the flat isn’t heating up because of plant room ect. Will order 2 lengths of 22mm amour flex to put on flow and returns to minimise heat transfer from flow and return. Fow fit lagging.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes