## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Harvey Court
Consett
County Durham
DH8 6DF
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-48262
DATE OF REPORT: 07/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48262
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 20 Harvey Court
Consett
County Durham
DH8 6DF
Carried Out On | 07/06/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48262
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - Y Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - N/A New PRV Termination - Y Smoke Alarms - Y Co Alarms - Y Existing poor condition radiators – Y Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – bungalow Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - hall, lounge, kitchen Co Alarm Location - hall Distribution Pannel Location - porch Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) no Existing Boiler Make & Model - Potterton Promax 15/2 HE Plus Existing Boiler serial number - ATR090360129DC Existing Boiler Location - hall cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - heat only Install Type (Full Heating / Conversion / Boiler Replacement) - conversion New Boiler Location - same Stand off kit required - yes New Flue (Horizontal / Vertical) - vertical Flue Materials Required - vertical kit, 2 extension pieces, 2 45° bends, 3 supports Scaffolding required - no Gas Meter location (Internal / External) - external Stop tap location - under sink Stop tap working (Yes / No) - yes Existing condensate termination location - soil stack in loft New Condensate termination location - basin waste pipe Condensate materials required - 32mm tee, 32mm/overflow adaptor, 6m overflow pipe, 3m 22mm lagging. Condensate Pump (Yes / No) - yes Pressure relief termination location - through eaves Number of Bathrooms - 1 Number of thermostatic Showers - 0 Number of electric Showers - 1 Total number of existing radiators - 6 Current Cooker (Gas / Electric) - none Current Fire (Gas / Electric) – electric Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 15mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 15mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – 3m of 22mm Only complete radiators if existing are poor condition or a full heating replacement Any Other notes 15mm prv 10m of 22mm pipe 10 of 22mm elbows 10m of 15mm pipe 10 of 15mm elbows 9m of 22mm lagging 9m of 15mm lagging Gas and electric both on.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes