## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-48383
DATE OF REPORT: 07/10/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48383
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
Carried Out On | 07/06/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Boiler No.3 Strip down Boiler & replace leaking Sump/ Sump Elbow along with replacing the leaking Heat Exchange. Set up & check for correct operation before returning to service.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48383
SECTION 3: Report
After installing the new heat exchanger and on the commissioning was begun it was found that there must of been a previous leak from boiler 2 and this had gone on to the limit stat rendering this broken and which had also blown the LMU. A quote has been sourced for the LMU but the limit safety sensor was replaced from vehicle stock

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes