## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Leech Court
Easington Colliery
SR8 3QJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-48385
DATE OF REPORT: 06/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48385
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 13 Leech Court
Easington Colliery
SR8 3QJ
Carried Out On | 06/06/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Carry out recomission and send in benchmark and collect water sample, tenant has also reported that the stop cock under the sink doesnt work can this also be looked at

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48385
SECTION 3: Report
PN 6/6/24 Unable to commission as Ecv is letting bye. Reported to northern gas networks to repair Ecv

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes