## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Weakland Close
Sheffield
S12 4PA
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-48546
DATE OF REPORT: 13/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48546
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 11 Weakland Close
Sheffield
S12 4PA
Carried Out On | 13/06/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48546
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - Y Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co Alarms - Y Existing poor condition radiators – N/A Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – house Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - kitchen, lounge, hall, landing Co Alarm Location - kitchen Distribution Pannel Location - hall Existing heating control location - lounge, bedroom Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) - yes Existing Boiler Make & Model - Alpha InTec 28X Existing Boiler serial number - A8C12300200 Existing Boiler Location - kitchen cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - combi swap New Boiler Location - same Stand off kit required - no New Flue (Horizontal / Vertical) - horizontal Flue Materials Required - standard Scaffolding required - no Gas Meter location (Internal / External) - external front Stop tap location - under sink Stop tap working (Yes / No) - yes Existing condensate termination location - waste pipe behind kitchen units New Condensate termination location - same Condensate materials required - none Condensate Pump (Yes / No) - no Pressure relief termination location - external rear Number of Bathrooms - 1 Number of thermostatic Showers - 2 Number of electric Showers - 1 Total number of existing radiators - 9 Current Cooker (Gas / Electric) - gas Current Fire (Gas / Electric) – none Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - Hep Is Speed fit / Hep Barrier protected (Yes / No) - yes Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 15mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – none Only complete radiators if existing are poor condition or a full heating replacement Any other notes Terminal guard reqd.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes