## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Glebe Field
Norham
Berwick upon Tweed
TD15 2GW
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 24-48674
DATE OF REPORT: 25/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48674
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 23 Glebe Field
Norham
Berwick upon Tweed
TD15 2GW
Carried Out On | 02/07/2024, 24/07/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
BALL VALVE TO BE REPLACED FOLLOWING THE BELOW. Solar panel installers needed as per Karbon roofers due to ceiling being wet coming from the loft space. ---- solar panel inspection required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48674
SECTION 3: Report
PN 24/7/24 Ball cock replaced No pipes running across ceiling where damp patch is Sent photo on email where damp spots are on roofing membrane Needs roofer to inspect areas around solar panel and remove membrane inside of loft space where solar panel is Needs scaffold

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes