## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Whinney Leas
Chopwell
NE17 7JX
CARRIED OUT ON BEHALF OF
Tony Elvidge
REPORT NUMBER: 24-48686
DATE OF REPORT: 14/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48686
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Tony Elvidge
Address | La Haise
14350 Campeaux
Souleuvre en Bocage
France
Site Address | 1 Whinney Leas
Chopwell
NE17 7JX
Carried Out On | 14/06/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Investigate issue wirh heating system- boiler loosing pressure every day (every few hours), has previously been told there is a leak on system but unsure where

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48686
SECTION 3: Report
22m of 15mm capping 4 external corners 2 internal corners 3 flat corners 2 tees 72m of 15mm pipe 50 15mm elbows 10 15mm tees 12 25mm olives Radiator in snooker room to be repositioned 1m to right. 6 holes to drill through 12” brick walls. Floorboards to lift in hall and lounge. 4m run to be cut into joists in lounge.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes