## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Neptune Way
Easington Colliery
Peterlee
SR8 3ET
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 24-48712
DATE OF REPORT: 13/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48712
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | 10 Neptune Way
Easington Colliery
Peterlee
SR8 3ET
Carried Out On | 11/06/2024, 13/06/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
ADVISED THAT HERSELF AND OTHER RESIDENTS ARE EXPERIENCING HIGH HEAT COMING FROM THE RADIATORS DESPITE THE RADIATORS BEING TURNED OFF, ADVISED THAT THEY ARE VERY UNCOMFORTABLE WITH THE HEAT AND HAVE ALL THE WINDOWS OPEN.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48712
SECTION 3: Report
Ct 11/6 Heating off at thermostat operating 3 port however been off since 9am and radiators are still very hot 3 port valve must be passing. Or not fully closing the head. Isolated and drained due to been in loft. Cut old one and and altered pipe to fit new one. Fitted and wired new one up tested operating correctly and tidied site. Checked radiators with Tennant and happy there starting to cool down. Materials 1m 22mm copper 2x 22mm xpress connector 3x 22mm xpress 90 1x 22mm xpress lever valve 1x 22mm Honeywell 3 port valve Finished 18:00 Ct 12/6 2x radiators only Luke warm belive engineer unable to sort. Removed air locks and balanced system as living room and hall radiator not heating fully all radiators nice and hot on leaving.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48712
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes