## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Reenes Way
Bellingham
Hexham
NE48 2DY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-48898
DATE OF REPORT: 19/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48898
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Reenes Way
Bellingham
Hexham
NE48 2DY
Carried Out On | 19/07/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating/hot water - ASHP

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48898
SECTION 3: Report
PN 19/7/24 Spoke to technical he said could be possible blockage on filters or pump is not running properly He said it needs a heat pump installer to look at it or someone that knows about servicing them it’s does not need a pressure switch the pressure error is caused by a blocked filter or faulty pump as something is not circulating Heat pump currently has a high pressure fault this needs the high pressure sensor and switch checked first before going any further or ordering any parts, was explained to me that two previous engineers had disconnected something to do with the hot water on the heat pump so this will also need looked at I need to arrange a call with technical when next on site to talk me through the procedures and values I should be getting when checking the sensor.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes