## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
180 Boldon Lane
South Shields
NE34 0LY
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-48921
DATE OF REPORT: 17/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-48921
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 180 Boldon Lane
South Shields
NE34 0LY
Carried Out On | 17/06/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Carry out decomission

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-48921
SECTION 3: Report
PN 17/6/24 No work getting done at property today so no need to turn gas off Turn Off 1. Take image of existing boiler and full flue route including termination before any works are undertaken. 2. Mark up each flue joint with Marker at the start of the job and check that the flue is correctly bracketed. 3. Complete a full combustion check of the boiler and ensure the flue is proving a 20.9% result in the air intake before removing the flue. 4. Soundness/Tightness test gas supply. 5. Isolate gas supply to the boiler and remove the fuse. 6. Create gas certificate identifying the boiler has been made safe to work on. 7. Provide images of isolated boiler (gas supply isolated, fused spur off and fused pulled). 8. Add/submit any additional notes or images you deem necessary such as existing damages, issues, or concerns.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-48921
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48921
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48921
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48921
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-48921
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes