## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Churchill Square ( Block 25 - 30 )
Gilesgate
County Durham
DH1 1EU
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 24-49008
DATE OF REPORT: 18/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49008
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Churchill Square ( Block 25 - 30 )
Gilesgate
County Durham
DH1 1EU
Carried Out On | 18/06/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
MISS PONOMARENKO IS REPORTING A PUDDLE OF WATER WHICH IS IN THE COMMUNAL AREA NEAR FIRE DOOR, THE WATER IS COMING FROM A CUPBOARD WHICH IS LOCKED, POSSIBLT PIPES OR BOILER I CUPBOARD, WATER POOLS OUTSIDE THE DOOR EVERY DAY BUT UNABLE TO ACCES THE CUPBOARD DOOR TO SEE WHERE WATER IS COMING FROM. ADVISES THAT THERE IS NO WATER GETTING INTO ELECTRICS

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49008
SECTION 3: Report
PN 18/6/24 Leak coming from flat no 28 overflow pipe had come off bath waste reconnected overflow pipe

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49008
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49008
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49008
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49008
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49008
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes