## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Cawdell Court
NE30 1NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-49142
DATE OF REPORT: 20/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49142
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 13 Cawdell Court
NE30 1NE
Carried Out On | 20/06/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No water to the building - new 15mm stop tap needed

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49142
SECTION 3: Report
PN 20/6/24 Could not turn water off to flat to replace stopcock The only outside stop tap did not work Packed out gland got water back on still has slight drip on stopcock Whoever fitted new fill valve has put the wrong one one Needs a torbeck fill valve fitted bottom entry As the cistern lid won’t go back on properly

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes