## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 St. Cuthberts Close
Ripon
HG1 1FG
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-49223
DATE OF REPORT: 02/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49223
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 4 St. Cuthberts Close
Ripon
HG1 1FG
Carried Out On | 01/07/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49223
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - Y Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - N/A New Condensate Termination-N/A Existing PRV Termination - Y or N/A unable to find on either external wall New PRV Termination - through near side wall Smoke Alarms - Y Co2 Alarms - N/A New needed Existing poor condition radiators – no Scaffolding location - no Information Required (Must Complete all fields) Property Type ( House) – Existing Loft insulation thickness in mm (Example “200mm”) - 150mm Smoke Alarm Locations - hall and top landing Co Alarm Location - not present Distribution Pannel Location - stairwell Existing heating control location - stairwell Existing supply (Natural Gas / LPG / Oil) Natural Gas Solar Thermal (Yes / No) yes Loft Existing Boiler Make & Model - aplha cd28x Existing Boiler serial number - 68c10500164 Existing Boiler Location -airing cupboard bed room Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - boiler replacement New Boiler Location - same Stand off kit required - yes New Flue (Horizontal / Vertical) - vertical Flue Materials Required - 6 extensions and 45s Scaffolding required - no Gas Meter location (Internal / External) - external Stop tap location - kitchen Stop tap working (Yes / No) - yes Existing condensate termination location -un known internal New Condensate termination location -same Condensate materials required -na Condensate Pump (Yes / No) -no Pressure relief termination location - through wall Number of Bathrooms - 1 Number of thermostatic Showers - l Number of electric Showers -none Total number of existing radiators - 6 Current Cooker (Gas / Electric) - none Current Fire (Gas / Electric) –none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) - hep Is Speed fit / Hep Barrier protected (Yes / No) -yes Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements – Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49223
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes