## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Preston Court ( Communal )
Roseberry Avenue
North Shields
NE29 9PG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-49387
DATE OF REPORT: 28/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49387
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Preston Court ( Communal )
Roseberry Avenue
North Shields
NE29 9PG
Carried Out On | 26/06/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
very little water coming out of the tap and the shower that is attached to it in the communal bathroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49387
SECTION 3: Report
Ct 26/6 Isolated water stripped tap out filters on hot blocked cleaned out removable one and attempted to clean the one fitted inside tap but unable to access. Out back to get slightly better but still not the best. Replaced tap as hot feed is restricted and unable to clean. Fitted new tap and tested all working water pressure a lot better Future improvements to prevent from happening again would be to fit a 22mm inline strainer or to make sure water is ran through pipe work every week. But instant repair fixed. Materials Nabis bath shower mixer Wolseley Tyne tunnel 24-49387

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49387
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49387
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49387
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49387
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49387
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes