## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Feetham Court ( Communal )
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-49444
DATE OF REPORT: 28/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49444
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Feetham Court ( Communal )
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
Carried Out On | 26/06/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
No heating or hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49444
SECTION 3: Report
Ct 26/6 This system needs BMS supplier as everything has to be into manual mode to get pumps running ect. Also still no power going to the secondary return pump which is why tennats still complaining about how long water takes to come through. This was reported months ago. Have told Nicole in person so she can pass on to Morgan Sindell. Hot water has went up from 20 degrees to 35 degrees before leaving

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes