## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Patton Walk ( Communal )
Wheatley Hill
County Durham
DH6 3QY
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 24-49502
DATE OF REPORT: 13/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49502
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Patton Walk ( Communal )
Wheatley Hill
County Durham
DH6 3QY
Carried Out On | 27/06/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
NO COMMUNAL HEATING OR HOT WATER

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49502
SECTION 3: Report
Ct 27/6 No keys in lock box unable go to access plant room. Waited over an hour for people to show up with spare key ect. No joy 27/06/24 GP Found the gas interlock had activated this was reset. Also found there was approximately 4 heat exchangers had gone. I stayed on site so I could keep resetting the boiler as the water kept knocking out the flame ionisation probes. The heat exchanger s eventually managed to expand enough to stop the water but now recommend boiler upgrades. A site pro has been carried out

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49502
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes