## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Thornbury
Front Street
Winlaton
NE21 4RE
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 24-49657
DATE OF REPORT: 19/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49657
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Thornbury
Front Street
Winlaton
NE21 4RE
Carried Out On | 12/07/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Checks in Plant Room & clean Filters if possible.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49657
SECTION 3: Report
Thornbury ppm 2x potterton Sirius 2 100 1= operational 2= operational 1x interlock operational 1x 945 lt buffer no leaks 1x jet pressuration unit operational 3x prv operational 1x c/h expansion vessel set at 1.5 bar Valves and gauges operational Pipework good Flue good 1x shunt pump grudfoss Magna 1 40-120 operational amps 1.6 2x boiler circulation pumps Grundfoss Magna 1 40-60 1= operational amps 0.9 2= operational amps 1.1 Water sample took Lagging good

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49657
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49657
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49657
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49657
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49657
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes