## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Preston Court
Roseberry Avenue
North Shields
NE29 9PG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-49673
DATE OF REPORT: 07/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49673
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Preston Court
Roseberry Avenue
North Shields
NE29 9PG
Carried Out On | 05/07/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Checks in Plant Room & clean Filters if possible.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49673
SECTION 3: Report
Ct 5/7 Preston court ppm 3x Hamworthy fleet f125v 1= operational 2= operational 3= operational 1x Hamworthy pressuration unit operational leak on overflow fixed. 2x Hamworthy powerstock calorifiers 380l operational 1x c/h expansion vessel drained and at 1.5 bar 2x h/w expansion vessels drained both 1= no drain off had to disconnect but recommend fitting drain off 22-15 center tee with long stem drain off for easier access. Set @ 3.5 bar 2= gate valve to broke in closed requires new 22mm compression lockable valve. Set at 3.5 bar 1x vt valve Schneider m700 operational 2x 3 way valves Schneider m700 operational 1x interlock operational 8x prv operational Primary pumps 2x Grundfoss Magna 3d 40-120f 1= operational amps 0.3 2= operational amps 0.2 Vt pumps 2x Grundfoss Magna 3d 40-150f 1= operational amps 0.4 2= operational amps 0.2 Hot water secondary return 1x Grundfoss Magna 3 25-80 operational amps 0.1 2x de stract pumps biral 1=operational amps 0.1 2= operational 0.1 Sensors and gauges operational Lagging good Pipework good Flue and condensate ok. Valves most operational Water samples took and posted Recommend fow work Replace 22mm valve on expansion feed for cal 2 as not open fully and spin sale must be snapped. Cut and fit a drain off on expansion leg for cal 1

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49673
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes