## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Percy Lodge
St Johns Terrace
Percy Main
NE29 6JT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-49674
DATE OF REPORT: 08/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49674
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Percy Lodge
St Johns Terrace
Percy Main
NE29 6JT
Carried Out On | 08/07/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Checks in Plant Room & clean Filters if possible.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49674
SECTION 3: Report
Percy lodge ppm 3x Hamworthy fleet 125v 1= operational 2= operational 3= operational 2x Hamworthy powerstock 470l both operational 1x Hamworthy pressuration unit operational 1x interlock operational 1x vt valve Schneider m700 operational 2x 3port valves Schneider m700 operational 2x potable expansion vessels both rechargerd to 3.5 bar 1x c/h expansion vessel set at 1.5 bar Primary pumps 2x Grundfoss Magna 3 d 40-180f 1= operational amps 0.3 2= operational amps 0.4 Zone 1 pumps 2x Grundfoss Magna 3d 40-180f 1= operational amps 1.1 2= operational amps 0.9 Dhw return pump Grundfoss 32-55 n 180 operational amps 0.5 Sensors operational Gauges operational Valve operational No leaks on pipework lagging good Flue ok sign of old leak been resealed in past Prv 8x operational 2x de stract pumps biral operational Water sample taking

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes