## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rudyerd Court
Lower Rudyerd Street
North Shields
NE29 6PD
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-49691
DATE OF REPORT: 09/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49691
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rudyerd Court
Lower Rudyerd Street
North Shields
NE29 6PD
Carried Out On | 09/07/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Checks in Plant Room & clean Filters if possible.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49691
SECTION 3: Report
Rudyerd court ppm 1x remeha Quinta ace 115 operational 2x remeha Quinta pro 115 operational 2x calorifers Primary pumps 2x Grundfoss tpe 50-240/2a bodies had old leaks 1= operational amps 2.9 2= operational amps 3.2 De stac 2x Grundfoss comfort 15-14 ba pm gb cal 1 operational amps 0.2 cal 2 isolated and In flow fail on BMS requires new pump. Heating pumps 2x Grundfoss tpe3 50-200 1= operational amps 1.8 2= operational amps 1.6 Dhw return pump Grundfoss Magna 32-100n operational amps 0.4 1x vt Siemens acvatix sqx 62 operational 1x 3 port Siemens acvatix sid62 Valves and gauges ok 1x pressure gauge on cal 1 not operating 3/8 10 bar Sensors/ BMS not showing any temperatures on screens Magna clean cleaned out 1x interlock operational 2x dhw expansion vessel cal1 set at 1.5 bar pumped to 3:5 just kept dropping back down to 1.5 cal 2sets at 3.5 bar 1x c/h expansion vessel set at 1.5 no drain off fitted so awkward to take. 2x old pump sets removed from site Flue looks ok but been sealed with silver foil tape in past no signs of leaks though Prv 5x operational Pipe work good Lagging good Recommendations Replace de strac pump not operating. ( Grundfoss ups 15-14b) Fit new pressure gauge on cal 1 jet en837-1 10 bar BMS service or repair to get correct temperature from sensors showing on screen in plant room Fit 28mm t-15 center with drain off so checking pressure or future work is easier and less messy Replace expansion vessel for cal 1 and fit new drain off at same time. 80 litre floor standing 28mm fitting

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49691
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49691
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49691
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49691
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49691
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes