## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Vicarage Court
Studley Road
Hatrlepool
TS25 1TN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-49768
DATE OF REPORT: 06/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49768
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Vicarage Court
Studley Road
Hatrlepool
TS25 1TN
Carried Out On | 23/07/2024, 07/08/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Annual Gas Safety Checks on 2 x Boiler Ideal Evomax 2 120 R/S. Due on or before 27th July.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49768
SECTION 3: Report
Spoken to Dave brown @ 16.15 regarding boiler number 2 having a faulty gas valve burning very lean causing high emissions outside of manufacture instructions on lo fire. I have made sure there is safeguards in place to leave on and Dave is happy to also have his name against this

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes