## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
88 The Wynd
Pelton
Chester-le-Street
DH2 1EH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-49861
DATE OF REPORT: 10/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-49861
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 88 The Wynd
Pelton
Chester-le-Street
DH2 1EH
Carried Out On | 10/07/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-49861
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A. Y Existing Cylinder & Tanks - Y or N/A. NA Existing Flue Run - Y or N/A. Y Existing Controls- Y or N/A. Y Stop Tap - Y or N/A Y Gas Meter- Y or N/A. Y Distribution Board - Y or N/A. Y Existing Condensate - Y or N/A. Y New Condensate Termination- Y or N/A. Na Existing PRV Termination - Y or N/A. Y New PRV Termination - Y or N/A. Na Smoke Alarms - Y or N/A. Y Co2 Alarms - Y or N/A. Y Existing poor condition radiators – Y or N/A. Scaffolding location - Y or N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –house Existing Loft insulation thickness in mm (Example “200mm”) -300mm Smoke Alarm Locations -back door Landing / hallway / lounge Co Alarm Location - bedroom cupboard Distribution Pannel Location - cupboard under stairs Existing heating control location -bedroom Existing supply (Natural Gas / LPG / Oil) -gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -baxi Duotec Existing Boiler serial number -CAC112830464JC Existing Boiler Location -bedroom cupboard Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -boiler replacement New Boiler Location -bedroom cupboard Stand off kit required -no New Flue (Horizontal / Vertical) -horizontal Flue Materials Required -flue / elbow Scaffolding required -no Gas Meter location (Internal / External) -external Stop tap location -under sink kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -external- into soakaway New Condensate termination location -external Condensate materials required -none Condensate Pump (Yes / No) -no Pressure relief termination location -external Number of Bathrooms -2 Number of thermostatic Showers - 0 Number of electric Showers -2 Total number of existing radiators -8 Current Cooker (Gas / Electric) -gas Current Fire (Gas / Electric) –none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -cooper Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10- -15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -no Talon Trunking requirements –no Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-49861
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49861
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49861
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49861
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-49861
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes