## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Crossgates
Bellshill Close
Wallsend
NE28 9XH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-50247
DATE OF REPORT: 23/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-50247
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | Crossgates
Bellshill Close
Wallsend
NE28 9XH
Carried Out On | 11/07/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Plant Room - 2no boilers middle and end - middle tripped showing E133 but reset - end showing E110 but will not reset Please can middle boiler be investigated as this has happened a couple times now.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-50247
SECTION 3: Report
Faulty LMU controller on boiler 3. A quote is been sourced Also tweaked the gas valve settings when the fan was running at 20% ignition speed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-50247
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50247
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50247
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50247
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50247
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes