## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Benedictine Way
Sunderland
Tyne and Wear
SR5 5DP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-50266
DATE OF REPORT: 14/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-50266
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Benedictine Way
Sunderland
Tyne and Wear
SR5 5DP
Carried Out On | 12/07/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
We have recieved the following order from Karbon - Mechanical Ventilation with Heat Recovery -Zehnder- ComfoAir 155WM -- Blowing cold air around the property. Tenant raised concerns. Please attend to identify if issue is ventilation unit

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-50266
SECTION 3: Report
PN 12/7/24 Cold air blowing from unit in loft Tenant asked for it to be turned off bedroom Was freezing cold

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-50266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50266
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes