## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Cheltenham court
St Helens Auckland
Bishop Auckland
DL14 9FF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-50746
DATE OF REPORT: 13/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-50746
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 21 Cheltenham court
St Helens Auckland
Bishop Auckland
DL14 9FF
Carried Out On | 13/07/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Leak coming from floor next to toilet

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-50746
SECTION 3: Report
PN 13/7/24 Leak from isolation valve in toilet running down back of toilet into Cylinder cupboard no leaks from cylinder Needs new fill valve for toilet as spraying onto cistern lid

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-50746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes