## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Tynedale Court
Haltwhistle
Northumberland
NE49 9LE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-50975
DATE OF REPORT: 18/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-50975
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Tynedale Court
Haltwhistle
Northumberland
NE49 9LE
Carried Out On | 17/07/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Customer is unable to turn her heating off and it's on the highest tempreture.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-50975
SECTION 3: Report
PN 17/7/24 Tenent needs new part for system as someone had been early on today - She couldn’t shut the trvs off properly Closed them properly to stop heat going into flat untill part is replaced

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-50975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-50975
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes