## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville ( Flat 24 )
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-51518
DATE OF REPORT: 07/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-51518
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Chapelville ( Flat 24 )
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 25/07/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Repair/renew leaking AAV to hallway cupboard

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-51518
SECTION 3: Report
Ct 25/7/24 Unable able to access air vent due to lack of access and pipework fitted in from so can’t get spanner on to remove. Will need cupboard fully cleared out and bigger access to ceiling space to alter pipework so can access air vent to replace. Fow alter pipework and replace 2x flamco 1/2 “ automatic air vents once cupboard is cleared out and access to ceiling space granted

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-51518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes