## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Aged Miners Homes
Fleming Field
Shotton
DH6 2JG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-51576
DATE OF REPORT: 27/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-51576
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 11 Aged Miners Homes
Fleming Field
Shotton
DH6 2JG
Carried Out On | 26/07/2024, 27/07/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Investigate and repair low pressure fault on boiler - Trace fault on boiler/heating system showing as low pressure. Treat with leak sealer if required. Find and repair leak. Fill, test and vent system. Repeat low pressure issue.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-51576
SECTION 3: Report
PN 27/7/24 Leak sealer added to system PN 26/7/24 Small weep coming from tee in loft space Will re attend to repair 27/7/24

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-51576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51576
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes