## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
CARRIED OUT ON BEHALF OF
REPORT NUMBER: 24-51753
DATE OF REPORT: 01/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-51753
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client
Address
Site Address
Carried Out On
Survey Completed By
SECTION 2: Introduction

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-51753
SECTION 3: Report

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-51753
SECTION 4: Photos
Room / Area
Living room
Description
Existing rad - H 530 x L 1450 single. Max size - 600 x 1500 DC
Notes
Room size 3.5 x 3.6 x 2.4 Window 1.0 x 1.8
Room / Area
Kitchen
Description
Existing rad - H 530 x L 950 DC. Max size Any
Notes
Room size 5.5 x 3.0 x 2.4 Window 1.0 x 1.8
Room / Area
Hall
Description
Existing rad - H 530 x L 750 DC. Max size 700 x 800
Notes
Room size 3.5 x 1.8 x 2.4
ZENITH MECHANICAL SERVICES
Report Number | 24-51753
SECTION 4: Photos
Room / Area
Bed 1
Description
Existing rad - H 530 x L 1005 single. Max 700 x 1800 DC
Notes
Room size 3.1 x 4.5 x 2.4 Window 1.0 x 1.8
Room / Area
Bed 2
Description
Existing rad H 530 x L 840 single. Max 700 x 1800 DC
Notes
Room size 3.4 x 3.4 x 2.4 Window 1.0 x 1.8
Room / Area
Bathroom
Description
Existing rad H 530 x L 840 DC. Max size 700 x 1000 DC
Notes
Room size 2.1 x 2.0 x 2.4 Window size 1.0 x 600
ZENITH MECHANICAL SERVICES
Report Number | 24-51753
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51753
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51753
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes